## TestSummary
CI/CD Test Stage Results
Jenkins job name: | RA-CI-TEST
Jenkins job build number: | 290
Tester name: | Andre
Tester contact: | andre.yost@rockwellautomation.com
ACD file specified: | C:\data\jenkins_home\workspace\RA-CI-TEST\DEVELOPMENT-files\CICD_test.ACD
Git commit hash to be verified: | eaddd852c42593388310e3a34e5b595ec2e9b91c
Git commit message to be verified: | TEST SUCCESS! ¦ Jenkins job: RA-CI-TEST ¦ Jenkins build #: 289 ¦ Commit hash on which testing was conducted: 8da83df3586ceaa3969eefb5628b18714e138fb0

## InitialTagValues
Tag Name | Tag Type | Online Value | Offline Value
TEST_BOOL | BOOL | False | False
TEST_SINT | SINT | 0 | 0
TEST_INT | INT | 0 | 0
TEST_DINT | DINT | 0 | 0
TEST_LINT | LINT | 0 | 0
TEST_REAL | REAL | 0 | 0
TEST_STRING | STRING | <empty_string> | <empty_string>
TEST_TOGGLE_WetBulbTempCalc | BOOL | False | False
TEST_AOI_WetBulbTemp_isFahrenheit | BOOL | False | False
TEST_AOI_WetBulbTemp_RelativeHumidity | REAL | 0 | 0
TEST_AOI_WetBulbTemp_Temperature | REAL | 0 | 0
UDT_AllAtomicDataTypes.ex_BOOL1 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL2 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL3 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL4 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL5 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL6 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL7 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL8 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_SINT | SINT | 0 | 0
UDT_AllAtomicDataTypes.ex_INT | INT | 0 | 0
UDT_AllAtomicDataTypes.ex_DINT | DINT | 0 | 0
UDT_AllAtomicDataTypes.ex_LINT | LINT | 0 | 0
UDT_AllAtomicDataTypes.ex_REAL | REAL | 0 | 0
UDT_AllAtomicDataTypes.ex_STRING | STRING | <empty_string> | <empty_string>

## TruthTable_Example
Rung 3 of Main Program Test Cases | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32
UDT_AllAtomicDataTypes.ex_BOOL1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1
UDT_AllAtomicDataTypes.ex_BOOL2 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1
UDT_AllAtomicDataTypes.ex_BOOL3 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
UDT_AllAtomicDataTypes.ex_BOOL4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
UDT_AllAtomicDataTypes.ex_BOOL5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
UDT_AllAtomicDataTypes.ex_BOOL8 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FinalTagValues
Tag Name | Tag Type | Online Value | Offline Value
TEST_BOOL | BOOL | False | False
TEST_SINT | SINT | 24 | 0
TEST_INT | INT | -20500 | 0
TEST_DINT | DINT | 2000111000 | 0
TEST_LINT | LINT | 9000111000111000111 | 0
TEST_REAL | REAL | -10555.888 | 0
TEST_STRING | STRING | 1st New String! | <empty_string>
TEST_TOGGLE_WetBulbTempCalc | BOOL | False | False
TEST_AOI_WetBulbTemp_isFahrenheit | BOOL | False | False
TEST_AOI_WetBulbTemp_RelativeHumidity | REAL | 0 | 0
TEST_AOI_WetBulbTemp_Temperature | REAL | 0 | 0
UDT_AllAtomicDataTypes.ex_BOOL1 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL2 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL3 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL4 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL5 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL6 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL7 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_BOOL8 | BOOL | False | False
UDT_AllAtomicDataTypes.ex_SINT | SINT | -24 | 0
UDT_AllAtomicDataTypes.ex_INT | INT | 20500 | 0
UDT_AllAtomicDataTypes.ex_DINT | DINT | -2000111000 | 0
UDT_AllAtomicDataTypes.ex_LINT | LINT | -9000111000111000111 | 0
UDT_AllAtomicDataTypes.ex_REAL | REAL | 10555.888 | 0
UDT_AllAtomicDataTypes.ex_STRING | STRING | 2nd New String! | <empty_string>